Manual for DECA:
Main requirements:

1. The galaxy image should be centered, i.e. the galaxy center should coincide with the center of the image.
2.

These KEYWORDS should be found by DECA in the fits-file with the galaxy image:
SCALE – pixel scale in arcsec/pix
FWHM – FWHM of the Point Spread Function (PSF) in pix
GAIN – CCD gain in e-/ADU, as described in the GALFIT or IMFIT manuals
NCOMBINE – number of combined images
EXPTIME – exposition time in sec
M0 – zero point
SKY_LEVEL – sky background in ADU
SKY_SUBTR – 0 if sky background has been subtracted, 1 if sky background has not been subtracted.

Main input parameters:
input_files,observation_info,object_info,settings = self.inp_f()
[input_image,sigma_image,psf_image,mask_image,sampling] = input_files
[nx,ny,m0,scale,gain,ncombine,exptime,read_out_noise,fwhm,sky_level,SkySubtr,Filter] = observation_info
[RA,DEC,galaxy_name,Dist,Ext,Kcorr] = object_info
[ChooseCode,ChooseGeom,ChooseSB,ChooseLum] = settings